## 28 Aug 2026
Project San Francisco
Question to Annex A Drarft Gas Auction Implementing Rules (GAIR)
Title of Document | Section | Provision | Question
Annex A - A Resolution Adopting the Rules on the Gas Auction Threshold Price Determination Methodology, Gas Price Benchmark, and Settlement Mechanism for the Mid-Merit Natural Gas Capacity Auction Program under the Department of Energy DC 2026-06-0013 | Section 6 | "The Commission may determine a single unified GAT Price for all Facility Types if the technical and cost profiles are sufficiently similar, or may establish separate GAT Prices where material differences in capital cost structure or operational parameters warrant differentiated ceilings. The differentiation of the GAT Price shall generally follow the differentiation in the installation targets specified under the DOE's Terms of Reference (TOR) for the Auction Round. Where the TOR does not specify the Facility Type, the Commission shall determine the technology that best represents the upcoming projects with issued Service Contracts, in order to approximate the cost of the power plant likely to be built." | Section. 6 provides that GAT differentiation shall generally follow the differentiation in the DOE's TOR. The TOR differentiates Existing from New-Build facilities given current market price situation of new equipment (e.g. Gas Turbine, Transformer) Please suggest whether separate GAT Prices will be issued for existing and new-build capacity in this bid round?
Annex A - A Resolution Adopting the Rules on the Gas Auction Threshold Price Determination Methodology, Gas Price Benchmark, and Settlement Mechanism for the Mid-Merit Natural Gas Capacity Auction Program under the Department of Energy DC 2026-06-0013 | Annex A.3 | A.3 ¦ Reference All-In Project Cost (PhP/kW) — differentiated by project location, transmission distance, and gas supply type ¦ To be determined by the Commission, expressed in PhP/kW at the applicable peso-dollar exchange rate benchmark, reflecting a brownfield expansion of an existing site rather than a greenfield build. ¦ (FNPC San Gabriel, US$640/kW) and (EERI, US$588/kW), averaged and rounded to a US$600/kW brownfield benchmark. | We note that Annex A.3 states that the All-In Project Cost, derived from San Gabriel (US$640/kW) and EERI (US$588/kW) and rounded to US$600/kW, reflects a brownfield expansion of an existing site rather than a greenfield build. We would appreciate guidance on how a greenfield project would achieve appropriate cost recovery.
Annex A - A Resolution Adopting the Rules on the Gas Auction Threshold Price Determination Methodology, Gas Price Benchmark, and Settlement Mechanism for the Mid-Merit Natural Gas Capacity Auction Program under the Department of Energy DC 2026-06-0013 | Section 32 | BCQ Declaration. The Winning Bidder shall declare its energy deliveries to each designated off-taker DU as Bilateral Contract Quantity (BCQ) in the WESM, in accordance with applicable WESM Rules on BCQ registration and declaration procedures. The BCQ shall correspond to the energy quantity actually deliverable to the DU under the PSA. | Will BCQ contracted with a DU in a PSA under cl. 32.1 of Annex A be restricted to or capped at the Capacity Factor limits indicated in the Terms of Reference section 1.1 B for Luzon of 37%-42%.
Annex A - A Resolution Adopting the Rules on the Gas Auction Threshold Price Determination Methodology, Gas Price Benchmark, and Settlement Mechanism for the Mid-Merit Natural Gas Capacity Auction Program under the Department of Energy DC 2026-06-0013 | Section 17 | Pending the Commission's determination of specific caps for a given Auction Round under this Section, the default cap for each add-on cost component shall be the most recent Commission-approved or DOE regulated tariff or rate for the corresponding service or, in the absence thereof, the average of at least three (3) comparable third-party service quotations submitted by the Winning Bidder, subject to Commission verification. | We would also appreciate confirmation whether the Allowable Add-On Costs under Section 17 consider newly built LNG infrastructure investment to be reflect in Capped Landed Logistic Cost Component for GAT price computation.
Annex A - A Resolution Adopting the Rules on the Gas Auction Threshold Price Determination Methodology, Gas Price Benchmark, and Settlement Mechanism for the Mid-Merit Natural Gas Capacity Auction Program under the Department of Energy DC 2026-06-0013 | Section 30 | Item A.2 — Reference Net Capacity Factor (%) — baseline and range for sensitivity Adopted Reference Value: To be determined by the Commission for DCF Model purposes. This supersedes the range in the existing Key Parameters table for the same Facility Type, which shall be conformed to the adopted figure in the next amendment of these Rules.Basis / Source: DOE Circular No. DC2026-06-0013, Section 10. | Would the bottom range for the capacity factor be the guaranteed dispatch for a contract year? Long-term contracting usually requires a minimum offtake thus a minimum energy offtake must be applied.