# Action taken on the comments of Ma’am Sharon O. Montaner

GAIR draft: FINAL FINAL / franz_som_working draft_1.docx  ·  Prepared by Franz  ·  19 October 2026

# Summary

All 29 comments of Ma’am Sharon and the 3 comments of Antonette were answered. Every text change made on 19 October is a tracked change highlighted in green so it can be accepted or rejected, and a reply under "Franz" is threaded beneath each comment in the draft.

- Implemented: 14 comments implemented as suggested.

- Answered + edited: 12 questions answered, with a small text change where it settled the point.

- No change: 3 answered or noted with no change needed.

## Points for your decision

- Lower GAT Price. Removing transmission/interconnection cost (Sec. 9.3), the boil-off gas allowance (Sec. 17) and the land/site lease cost each lowers the GAT Price. These follow your comments but are policy changes, not drafting fixes.

- Fuel contracts. Secs. 14.4 and 15.4 no longer require long-term gas or LNG contracts; Winning Bidders only submit their supply contracts for benchmarking. This goes a step further than the comment on 14.4.

- Lot 1 extension (Sec. 11). The adjusted GAP must use the latest round’s standard Key Parameters (only the retrofit cost and remaining life change) and cannot exceed that round’s GAT Price for Existing Facilities.

- Renumbering. Secs. 37 and 38 are deleted; Secs. 39–41 are renumbered 37–39.

- Error fixed on the side. The cross-reference to "Section 33" in Sec. 11.4 pointed to the MO settlement approval condition and was deleted.

# Comment-by-comment action (in page order)

"Page" is the page of the draft where the comment sits, counted from the first page of the file (as shown in Word’s page counter), with the printed footer number in brackets. Page breaks can shift by about one page depending on the Word version, printer, and whether markup is shown. Comments by Sharon O. Montaner and Antonette M. Badillo are combined; Antonette’s two proposed fixes are not yet in the text, pending your confirmation, and her revised GESQ(total) wording in Sec. 30 is kept.

| # | Comment by | Page | Provision | Comment | Action | What was done (reply posted under Franz) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Sharon | p. 19 (footer: Page 15) | Sec. 5 / Sec. 8.6 | ISSUE ON CLLC | Implemented | Implemented. You are right: the Capped Landed Logistics Cost (CLLC) is embedded in the GAT Price (Sec. 8.6), so the non-fuel Price Offers carry different logistics costs depending on whether the plant uses indigenous gas, blended gas, or imported LNG. Two changes: (1) Sec. 5 now states that Price Offers include the CLLC but exclude the gas commodity cost, and are ranked within each declared Fuel Source Category. This is how the DOE ranks bids under TOR Sec. 10.2.1 (Indigenous first, then Blended, then Non-Indigenous), so an indigenous-gas bid never competes on price against an LNG bid. (2) Sec. 8.6 now allows the Commission to set the CLLC, and therefore the GAT Price, separately per Fuel Source Category where the logistics profiles differ materially (e.g., indigenous gas has no regasification or LNG storage cost). |
| 2 | Sharon | p. 20 (footer: Page 16) | Sec. 6 (unified GAT Price) | This can be deleted. | Implemented | Implemented. The sentence requiring documented technology- and fuel-specific cost data for a unified GAT Price is deleted. |
| 3 | Sharon | p. 20 (footer: Page 16) | Sec. 6 (Lots) | Placeholder in case there is a need to differentiate by Lots. | Answered + edited | Noted, thank you. Kept. I also aligned the last sentence of the paragraph with it: the Commission now issues a separate GAT Price for Existing and New-Build capacity, or for each Lot, where the TOR so differentiates. |
| 4 | Sharon | p. 20 (footer: Page 16) | Sec. 6.5 | I think no need to be very specific in the Rules on the flexibility requirements as we do this per auction round based on the TOR, as already mentioned in the previous paragraph. Again, the issue in defining the capacity factor will entail higher rate recovery due to additional cost. | Implemented | Implemented. Sec. 6.5 is now one sentence: the reference project shall be consistent with the minimum flexibility requirements in the TOR for the Auction Round. Removed: (1) the list of technical parameters, which are already in TOR Sec. 2.6 and may change per round; (2) the instruction that the All-In Project Cost and O&M parameters 'shall reflect the cost of meeting those requirements', which, as you noted, would push the GAT Price up; and (3) the sentence on legacy plants under ERC Res. No. 27, s. 2026. |
| 5 | Sharon | p. 21 (footer: Page 17) | Sec. 7.1(a) | Can we remove already this PDM? The methodology is already detailed in these Rules. The next issuance will already be the GAT Price. | Implemented | Implemented. Sec. 7.1 now requires only the issuance of the initial GAT Price within 60 days from the ITB. Items (a) (the Price Determination Methodology) and (b) are deleted, since the methodology is these Rules. |
| 6 | Sharon | p. 21 (footer: Page 17) | Sec. 7.3 | We can actually delete this as our issuance will be published anyway and, a letter to DOE will suffice. | Implemented | Implemented. Sec. 7.3 is deleted; transmittal to the DOE can be by letter, and the GAT Price is published in any case. Note: with 7.3 gone, the Rules no longer cover the case where the 60-day period under Sec. 7.1 overruns the DOE's publication timeline. That can be handled by coordination with the DOE when it arises. |
| 7 | Sharon | p. 26 (footer: Page 22) | Table 1 – Installed Capacity | Should be based on testing. | Implemented | Implemented. For existing and repowered facilities, the Commission now references the dependable capacity established through testing, as shown in the latest Capability Test Certificate issued after the Grid Compliance Tests under ERC Res. No. 27, s. 2026, net of station/auxiliary load. This is also consistent with TOR Sec. 4.1, which takes offered capacity as Net Export Capacity 'validated through applicable technical documentation'. |
| 8 | Sharon | p. 32 (footer: Page 28) | Land/Site Lease Cost | I think we can remove this. In the All In Project Cost, we already included there land acquisition. If actual projects will decide to lease, then we leave it to them. But this will increase cost and rate. | Implemented | Implemented. The Reference Land/Site Lease Cost is removed as a separate parameter: the row is deleted from Table 1 and from the Annex table, and the item is taken out of the cost lists in Secs. 8.3, 8.6 (CRF legend) and 8.8.3. Land acquisition stays inside the All-In Project Cost. A developer that chooses to lease carries the lease within its own Price Offer. |
| 9 | Sharon | p. 33 (footer: Page 29) | Sec. 8.8 | What do you mean by cash flow waterfall? | Answered + edited | Answer: 'cash-flow waterfall' is a project-finance term for computing a project's cash flows in a fixed order each year: revenue first, then operating costs, taxes, and debt service (interest and principal), with what remains going to equity. The GAT Price is the price at which that equity cash flow earns the required return. To avoid the jargon, the phrase now reads 'step-by-step annual cash-flow computation'. The steps themselves are Secs. 8.8.1 to 8.8.8. |
| 10 | Sharon | p. 39 (footer: Page 35) | Sec. 9.3 | How do we determine this? Why not assume in the representative project, because it is an efficient and ideal project, assume totally no transmission cost. Assume that it will be the NGCP who will build it. | Implemented | Implemented as you suggest. The reference project now assumes no transmission or interconnection cost: all such facilities are assumed to be built by the Transmission Network Provider (NGCP). Changes: Sec. 9.3 states this assumption; the All-In Project Cost definition (Sec. 4), the All-In Project Cost description in Table 1, and Annex Item A.3 no longer include interconnection; and the 'Interconnection/Transmission Cost' row in Table 1 is deleted. The double-recovery computation you asked about is removed: if a Winning Bidder builds its own connection anyway, it recovers that cost within its own GAP, and any later transfer to TransCo follows ERC Res. No. 18, s. 2026. Effect: a lower GAT Price. |
| 11 | Sharon | p. 39 (footer: Page 35) | Sec. 11 | Do you mean extension from the initial 10 years under the TOR? This is not ideal given that the award was through bidding. If they extend, under this provision, they can submit cost breakdown and ERC will evaluate. So it will not be different cost parameters per project that will extend and this will be a deviation already from what was awarded rate by the DOE. | Answered + edited | Answer: this covers only the Lot 1 extension (existing plants), not the 10-year Lot 2 term. Under TOR Secs. 1.2.1.1 and 18.3, Lot 1's 5-year Supply Delivery Period may be extended by up to 5 years after retrofitting, and the TOR itself makes the extension GAP 'subject to review and approval of the ERC' under the GAT Price methodology, so the Rules need this section. To address your concern that project-specific parameters would depart from the auctioned rate, I revised it: (1) the section now names Lot 1 and the 5-year extension; (2) Sec. 11.2 now requires the Commission to use the same Key Parameters as the GAT Price for Existing Facilities in the most recent Auction Round, changing only the verified retrofit cost and the remaining useful life; and (3) the adjusted GAP cannot exceed that GAT Price. |
| 12 | Sharon | p. 40 (footer: Page 36) | Sec. 11.4 | Is this a formal application? | Answered + edited | Yes. Sec. 11 now says it is a verified application filed under the Commission's Rules of Practice and Procedure. I also deleted the cross-reference to 'Section 33' in 11.4, which was wrong: Sec. 33 is the MO's settlement approval condition, not a filing rule. |
| 13 | Sharon | p. 41 (footer: Page 37) | Sec. 13.2 | This is like the CLLC? Or on top of the CLLC? | Answered + edited | Answer: they are the same thing, not on top. The Allowable Add-On Costs listed in Sec. 17 (Table 2) are the components of the CLLC; Sec. 13.4 embeds them in the GAT Price and keeps them out of the monthly Fuel Cost Pass-Through. I added a clause to Sec. 13.2 saying this expressly. |
| 14 | Sharon | p. 42 (footer: Page 38) | Sec. 14.1(a) / 14.2 | Is the GSPA approved by any government entity? If yes, can we use already the GSPA? | Answered + edited | Answer: these Rules do not require ERC approval of GSPAs, and I am not aware of a government price approval for them. Under TOR Sec. 3.2, the GSPA goes to the DOE-Oil Industry Management Bureau for verification and certification of the declared Fuel Source Category; that is a verification, not a price approval. Sec. 14.1(a) already uses verified GSPA prices as one benchmark. As you suggest, I added a proviso to Sec. 14.2: where the Winning Bidder's GSPA has been verified by the DOE-OIMB, the Commission may adopt the GSPA price as that bidder's Reference Gas Price, still capped at import parity under Sec. 14.3. |
| 15 | Sharon | p. 43 (footer: Page 39) | Sec. 14.4 | This means prescribing the gas.... | Implemented | Agreed. As written, 14.4 had the ERC dictating the type and term of the gas contract (fixed-price, long-term). Revised: the Commission does not prescribe the fuel source, supplier, or contract structure, which follow the declared Fuel Source Category under the TOR; the Winning Bidder only submits its GSPA for benchmarking and verification. The same change is made to Sec. 15.4 for LNG. |
| 16 | Sharon | p. 44 (footer: Page 40) | Sec. 15.3 | Publish in the website? | Answered + edited | Yes. Sec. 15.3 now says the Commission publishes it on its official website. |
| 17 | Sharon | p. 45 (footer: Page 41) | Sec. 15.4 | Does the TOR of the DOE specify that they will also propose what fuel to use? Or will it prescribe a blend? | Answered + edited | Answer: under TOR Sec. 3.1, each bidder declares its own Fuel Source Category (Indigenous, Blended, or Non-Indigenous). The DOE does not prescribe a fuel or a blend ratio, but it ranks bids by category first, Indigenous first (TOR Sec. 10.2.1). Replacement fuel is governed by TOR Sec. 3.3. Consistent with your comment on 14.4, Sec. 15.4 no longer requires a long-term LNG contract; the Winning Bidder submits its LNG supply or hedging arrangement for benchmarking. |
| 18 | Sharon | p. 48 (footer: Page 44) | Sec. 17 – BOG | Can we remove this as an allowable pass through cost? | Implemented | Implemented. BOG loss is removed as an allowable add-on cost: the BOG row in Table 2 (Sec. 17) and in the audit-procedures table is deleted, and BOG is taken out of the CLLC list in Sec. 8.6, the add-on caps in the Gas Price Benchmark Annex, and the audit lists. Audit item (h) now states that BOG losses are borne by the Winning Bidder. Note: BOG was never a pass-through; it was a capped item inside the CLLC in the GAT Price, so this lowers the GAT Price by the BOG allowance. |
| 19 | Sharon | p. 49 (footer: Page 45) | Sec. 17 (above-cap costs) | How to ensure that they negotiated the CLLC at the least cost? | Answered – no change | Answer: three safeguards are already in the Rules. (1) Each add-on cost has a cap (Sec. 17); anything above the cap is borne by the Winning Bidder. (2) Above-cap costs need prior Commission approval, judged on a least-cost criterion with documented third-party quotations, executed terminal and pipeline agreements, and comparison against the default cap (this paragraph). (3) Actual logistics costs are audited (Sec. 25) and reconciled annually against the CLLC in the bidder's GAT Price, and sustained excess feeds into the next round's caps. Because the CLLC is fixed in the bid, the bidder, not the consumer, keeps any saving or absorbs any overrun. No text change made. |
| 20 | Sharon | p. 52 (footer: Page 48) | Sec. 21.1 | Is there any restriction in the TOR on replacement fuel. If not, okay with me. | Answered – no change | Answer: yes, the TOR restricts it (TOR Sec. 3.3). Replacement fuel is allowed only as permitted by the NGAC, with documentary proof that the declared fuel is unavailable, at least 3 months' notice (or immediate notice in emergencies), and cost pass-through at the lower of the declared fuel cost and the actual replacement-fuel cost, unless caused by verified force majeure. Sec. 21.1 follows these conditions. No change made. |
| 21 | Sharon | p. 59 (footer: Page 55) | Sec. 27 | effectivity of DOE Circular or the ERC Rules? | Answered + edited | Answer: the DOE Circular. Sec. 27 mirrors Sec. 19.2.1 of DC2026-06-0013, which counts the 30 days from the Circular's effectivity; the sentence now says so. Since that period may already have run before these Rules take effect, I added a proviso: if the MO has already submitted a Settlement Mechanism, it must submit conforming amendments within 30 days from the effectivity of these Rules. |
| 22 | Sharon | p. 61 (footer: Page 57) | Sec. 28(k) | Do we include this here? Or just reference it to any BIR Ruling? | Answered + edited | Answer: a reference to the BIR is enough. (k) now refers to the applicable BIR revenue regulations and rulings instead of a specific Revenue Regulation number. I kept the proviso that the MMSA/ETA comparison is made before withholding and that nothing is grossed up, because that affects the settlement amounts and is within our scope. |
| 23 | Antonette | p. 62 (footer: Page 58) | Sec. 29 (ETA) | WESM ETA covers all WESM transactions (sales and purchases). Suggest to define ETA for Mid-Merit windows interval only. | Proposed – not yet in text | Thank you, Antonette. Agreed: the ETA as defined in Sec. 4 covers all WESM transactions, while the MMSA covers only Energy Delivered in the Mid-Merit Operating Period. Proposed fix: define ETA(g) in Sec. 29 as the WESM settlement amount for trading intervals within the Mid-Merit Operating Period only. Not yet reflected in the text; I will make the change once Ma'am Sharon confirms. |
| 24 | Antonette | p. 62 (footer: Page 58) | Sec. 29(i) | Sec. 29(i): 'paid based on the Fuel Cost alone' does not say who pays or how. Suggest to specify the formula and whether the amount is collected from WESM participants (customers) through the same GESQ allocation as Sec. 30 or settled otherwise. For consideration po. | Proposed – not yet in text | Thank you. Agreed, 29(i) does not say who pays or how. Proposed: energy delivered in the Non-Mid-Merit Operating Period, up to the equivalent energy offtake, is paid at FC(g) x Energy Delivered, collected from and allocated to WESM customers through the MO using the same GESQ pro-rating as Sec. 30, net of the WESM ETA for those intervals. Not yet reflected in the text; for confirmation. |
| 25 | Antonette | p. 63 (footer: Page 59) | Sec. 30 (GESQ total) | Revised for consideration po. This is to cover the same customers as the numerator pool. Sec. 30 limits collection to WESM customers within the grid or grids covered by the Terms of Reference, but the where-clause said "all WESM customers". | Kept her revision | Thank you, agreed. The denominator must be the same customer pool as the numerator. Your revised wording limits GESQ(total) to WESM customers within the grid or grids covered by the TOR, which matches Sec. 30 and the WESM Customer definition. Keeping your revision. |
| 26 | Sharon | p. 67 (footer: Page 63) | Sec. 33 | What submission is this? | Answered + edited | It is the MO's proposed Settlement Mechanism submitted under Sec. 27. The sentence now says so. |
| 27 | Sharon | p. 69 (footer: Page 65) | Sec. 37 | I think we should leave this to DOE since it is the one conduction the Auction. | Implemented | Implemented. Sec. 37 is deleted; the conduct of the auction, including bid rigging, is for the DOE (and for the Philippine Competition Commission under RA 10667). Sections 39 to 41 are renumbered 37 to 39. |
| 28 | Sharon | p. 69 (footer: Page 65) | Sec. 38 | I think we can delete this. Similar to FIT and GEAP, we have no provision such as this. | Implemented | Implemented. Sec. 38 is deleted, consistent with the FIT and GEAP rules. ERC officials remain covered by RA 6713 and RA 3019 in any case. |
| 29 | Sharon | p. 70 (footer: Page 66) | Sec. 41 (now 39) | I changed to immediately given the tight deadline for us to come up with the Rules and the GATP | Answered – no change | Noted. The text reads 'take effect immediately following their complete publication', with the ONAR filing retained. Sections are renumbered, so this is now Section 39. No further change. |
| 30 | Sharon | p. 71 (footer: Page 67) | Annex A | Since the reference parameters are merely enumeration and no specifc data sets yet (which will be covered under the GATP setting), we can simplify to just one table of parameters for any technology. | Implemented | Implemented. Annex A is now a single parameter table for all Facility Types: the heading, introduction, and table caption are generalized, and the separate OCGT (Annex 'O') and Gas-Reciprocating Engine (Annex 'G') tables and their introductions are deleted. The values per Facility Type will be set in the GATP issuance. |
| 31 | Sharon | p. 80 (footer: Page 76) | Annex A – WACC | Check reference. | Answered + edited | Checked. The WACC inputs are Items A.9 (debt:equity ratio), A.10 (cost of debt), A.12 (equity return), A.13 (local:foreign ratio, used to blend the cost of debt) and A.14 (tax rate). A.11 (repayment period) is not a WACC input, so 'A.9-A.14' now lists the items individually. |
| 32 | Sharon | p. 80 (footer: Page 76) | Annex A – WACC legend | Put legend pls of the variables in the formula | Implemented | Implemented. The 'Where' sentence is replaced by a legend listing each variable in the formula (WACC, w_e, w_d, K_e, K_d, T) with its definition and Annex item. |